|  |
| --- |
| **Recommendations for Licensed Food Establishments**  **Using City of Essexville Water**  **November 20, 2019** |

|  |
| --- |
| **ATTENTION:**  **Your municipality’s water source has been identified as having**  **an Action Level Exceedance for lead.**  **The following recommendations apply to licensed restaurants, grocery stores,**  **convenience stores, food processors and food warehouses.** **Testing your water with a certified lab is the only way to find out how much lead is in your drinking water.** Safe results can be posted to inform your customers. Visit Michigan.gov/EGLElab and choose “Drinking Water Laboratory” to learn how to order a test kit. The cost is typically $30. If you have questions about testing your water, you can contact MDHHS at 517-284-4115.  * The best way to determine if water contains lead is to have it tested. Safe results can be posted to inform consumers. * A licensed plumber can check your plumbing and service lines for lead soldering or lead   service lines.   * Restaurants with general questions should contact the Bay County Health Department   at: 989-895-4107   * Grocery stores, food production facilities or food warehouses with general questions should   contact MDARD at: 1-800-292-3939.  **Unless the water has been tested and found to not have a lead concern, do the following:**   * If a filter is not in use, flush water lines for at least 5 minutes each day before using or serving   water and after 6 hours of no water use. Then flush other equipment, such as equipment listed below,  for at least 1-2 minutes.   * Install an NSF Standard 53 certified filter on the faucet where drinking/cooking water is obtained. Approved filter information for faucet or in-line filters can be found at:   <http://info.nsf.org/Certified/DWTU/listings_leadreduction.asp>. Filters must be changed based on the  manufacturer’s recommendations.   * Use cold water and store it for immediate consumption. * Always use cold water for drinking, cooking and cleaning/rinsing food.   **For other equipment that may use City of Essexville water:**   * Ice machines – Install a water filter on the supply line or use bagged ice from an approved   source for drinking water.   * Pop machines – After initial flushing as described above, flush for 1 minute daily or use   bottled beverages.   * Coffee machines – After initial flushing as described above, flush for 1-2 minutes daily or use filtered water. These products may be very low risk as young children under 6 are not likely to consume these. * Slush machines – Use filtered water. * Spray misters – After initial flushing as described above, flush for 1-2 minutes daily or use   filtered water.  **Find more information on water testing resources at https://www.michigan.gov/MiLeadSafe** |

**A picture containing text

Description automatically generated**

